## size_correction
User inputs | Raw data | [17 empty] | These are the reference values for Stanford A01 tank 06281195 | [5 empty] | corrected to m/z=44 peak area of 20 Vs |  |  | PYTHON/MATLAB INPUTS |  |  |  |  | MATLAB/PYTHON OUTPUT |  | SIZE CORRECTED DELTA VALUES |  |  | peak area 20 |  | SCALE DECOMPRESSED VALUES
run_date | Row | Identifier 1 | Is Ref _ | d 15N/14N | d 18O/16O | d 17O/16O | Area 44 | Area 30 | BGD 44 | Rt | FileHeader: Filename | Time Code | rR 45N2O/44N2O sam | rR 46N2O/44N2O sam | rR 31NO/30NO sam | rR 45N2O/44N2O std | rR 46N2O/44N2O std | rR 31NO/30NO std | 31R | 45R | 46R | raw 45rR/45rR | raw 46rR/46rR | raw 31rR/31rR | size corrected 31rR/31rR | size corrected 45rR/45rR | size corrected 46rR/46rR | size corrected 31R | size corrected 45R | size corrected 46R | DATE | SAMPLE ID | d15Na | d15Nb | SP | d15Nbulk | d17O | d18O | Scrambling coefficients | d15Na | d15Nb | SP | d15Nbulk | d17O | d18O
201204 | 2 | ATM_EQ_SW | 0 | 5.406 | 46.78 | 3.478 | 4.769 | 4.95 | 2.1 | 1547.6 | 201204_V-0002.dxf | 44169.7648 | 0.76604 | 0.74142 | 0.43208 | 0.76203 | 0.73643 | 0.42841 | 0.0037338 | 0.007741 | 0.0021013 | 1.0053 | 1.0068 | 1.0086 | 1.0094 | 1.0057 | 1.0075 | 0.003769 | 0.007785 | 0.0021171 | 201204 | ATM_EQ_SW | 14.5073 | -2.8341 | 17.3414 | 5.8366 | 24.2604 | 47.551 | g=0.171 | 14.7616 | -3.0633 | 17.8249 | 5.8492 | 23.2898 | 45.6277
201205 | 1 | S2_ref_1 | 0 | -3.689 | 33.856 | -2.934 | 6.277 | 6.537 | 1.9 | 1546.3 | 201205_V-0000.dxf | 2020/12/05 14:32:14 | 0.75906 | 0.73224 | 0.42948 | 0.76188 | 0.73644 | 0.4293 |  |  |  | 0.9963 | 0.99431 | 1.0004 | 1.0012 | 0.99669 | 0.99498 | 0.0037382 | 0.0077154 | 0.0020907 | 201205 | S2_ref_1 | 6.1687 | -12.7557 | 18.9244 | -3.2935 | 17.6813 | 34.5502 | k=0.079 | 6.3131 | -12.3716 | 18.6847 | -3.0293 | 16.941 | 33.0924
201205 | 2 | B6_ref_1 | 0 | 0.364 | 44.33 | 2.266 | 21.185 | 22.028 | 2.0 | 1545.8 | 201205_V-0001.dxf | 2020/12/05 15:07:56 | 0.76223 | 0.73967 | 0.4281 | 0.76191 | 0.73645 | 0.42934 | SIZE CORRECTION SLOPES (updated 5/10/21) |  |  | 1.0004 | 1.0044 | 0.99713 | 0.99706 | 1.0004 | 1.0043 | 0.0037228 | 0.007744 | 0.0021104 | 201205 | B6_ref_1 | -0.87882 | 1.5601 | -2.439 | 0.34066 | 22.6037 | 44.2697 |  | -0.82738 | 1.0594 | -1.8868 | 0.116 | 21.691 | 42.4639
201205 | 3 | ATM_EQ_SW_1 | 0 | 6.169 | 46.974 | 3.574 | 4.992 | 5.193 | 1.6 | 1546.9 | 201205_V-0002.dxf | 2020/12/05 15:39:59 | 0.76656 | 0.74167 | 0.433 | 0.762 | 0.73653 | 0.42932 | 31R | 45R | 46R | 1.006 | 1.007 | 1.0086 | 1.0094 | 1.0064 | 1.0077 | 0.0037689 | 0.0077906 | 0.0021175 | 201205 | ATM_EQ_SW_1 | 14.2946 | -1.1129 | 15.4075 | 6.5908 | 24.3525 | 47.7334 |  | 14.5461 | -1.4485 | 15.9946 | 6.5488 | 23.3786 | 45.8036
201205 | 4 | S2_ref_2 | 0 | -2.894 | 35.592 | -2.071 | 36.725 | 38.041 | 2.0 | 1546.2 | 201205_V-0003.dxf | 2020/12/05 16:11:34 | 0.75979 | 0.73348 | 0.42977 | 0.762 | 0.73644 | 0.42892 | 5.6579e-05 | 2.8107e-05 | 4.8711e-05 | 0.9971 | 0.99598 | 1.002 | 1.001 | 0.99663 | 0.99516 | 0.0037377 | 0.007715 | 0.0020911 | 201205 | S2_ref_2 | 5.9548 | -12.6737 | 18.6285 | -3.3594 | 17.7807 | 34.746 |  | 6.0964 | -12.2946 | 18.391 | -3.0991 | 17.0369 | 33.2812
201205 | 5 | B6_ref_2 | 0 | -0.866 | 42.325 | 1.272 | 21.034 | 21.866 | 3.5 | 1550.8 | 201205_V-0004.dxf | 2020/12/05 18:31:18 | 0.7614 | 0.73827 | 0.42699 | 0.76201 | 0.73648 | 0.42855 |  |  |  | 0.9992 | 1.0024 | 0.99635 | 0.99629 | 0.99917 | 1.0024 | 0.0037199 | 0.0077346 | 0.0021063 | 201205 | B6_ref_2 | -1.5241 | -0.2435 | -1.2806 | -0.8838 | 21.5941 | 42.2726 |  | -1.4812 | -0.63277 | -0.8484 | -1.057 | 20.7168 | 40.5383
201205 | 6 | ATM_EQ_SW_2 | 0 | 4.841 | 44.903 | 2.549 | 4.982 | 5.192 | 2.3 | 1550.5 | 201205_V-0005.dxf | 2020/12/05 19:02:52 | 0.76554 | 0.74014 | 0.43238 | 0.76198 | 0.73648 | 0.4285 |  |  |  | 1.0047 | 1.005 | 1.0091 | 1.0099 | 1.0051 | 1.0057 | 0.0037708 | 0.0077805 | 0.0021133 | 201205 | ATM_EQ_SW_2 | 15.3893 | -4.8618 | 20.2511 | 5.2637 | 23.308 | 45.664 |  | 15.6553 | -4.9656 | 20.6209 | 5.3448 | 22.3707 | 43.8083
201205 | 7 | DI | 0 | -9.761 | 44.925 | 2.56 | 17.01 | 17.718 | 2.7 | 1550.8 | 201205_V-0006.dxf | 2020/12/05 19:34:26 | 0.75499 | 0.74002 | 0.43098 | 0.76197 | 0.73649 | 0.4285 |  |  |  | 0.99084 | 1.0048 | 1.0058 | 1.0059 | 0.99093 | 1.0049 | 0.0037559 | 0.0076708 | 0.0021117 | 201205 | DI | 13.1869 | -32.4581 | 45.645 | -9.6356 | 23.012 | 45.078 |  | 13.4239 | -30.8562 | 44.28 | -8.7161 | 22.0851 | 43.2433
201207 | 1 | ATM_EQ_SW_1 | 0 | 5.499 | 44.616 | 2.407 | 4.653 | 4.86 | 2.2 | 1550.3 | 201207_V-0000.dxf | 2020/12/07 11:54:27 | 0.76571 | 0.73974 | 0.43346 | 0.76168 | 0.73626 | 0.42919 |  |  |  | 1.0053 | 1.0047 | 1.01 | 1.0108 | 1.0057 | 1.0055 | 0.0037742 | 0.0077853 | 0.0021128 | 201207 | ATM_EQ_SW_1 | 16.5003 | -4.6425 | 21.1427 | 5.9289 | 23.1714 | 45.3935 |  | 16.7809 | -4.7598 | 21.5407 | 6.0105 | 22.2388 | 43.5474
201207 | 2 | S2_ref_1 | 0 | -3.908 | 32.678 | -3.52 | 7.684 | 8.013 | 2.3 | 1549.8 | 201207_V-0001.dxf | 2020/12/07 12:26:40 | 0.75864 | 0.73124 | 0.42947 | 0.76164 | 0.73626 | 0.42925 |  |  |  | 0.99607 | 0.99318 | 1.0005 | 1.0012 | 0.99641 | 0.99378 | 0.0037382 | 0.0077132 | 0.0020882 | 201207 | S2_ref_1 | 6.2934 | -13.4 | 19.6934 | -3.5533 | 17.0477 | 33.3022 |  | 6.4394 | -12.9761 | 19.4155 | -3.2683 | 16.3295 | 31.8891
201207 | 3 | B6_ref_1 | 0 | 0.138 | 44.011 | 2.108 | 20.544 | 21.38 | 2.4 | 1548.9 | 201207_V-0002.dxf | 2020/12/07 13:08:33 | 0.76178 | 0.73897 | 0.42797 | 0.76164 | 0.73598 | 0.42905 |  |  |  | 1.0002 | 1.0041 | 0.99749 | 0.99746 | 1.0002 | 1.004 | 0.0037243 | 0.0077424 | 0.0021098 | 201207 | B6_ref_1 | -0.28516 | 0.55275 | -0.83791 | 0.13379 | 22.4592 | 43.9837 |  | -0.2259 | 0.11426 | -0.34016 | -0.055822 | 21.5516 | 42.1882
201207 | 13 | ATM_EQ_SW_2 | 0 | 4.622 | 44.532 | 2.365 | 4.851 | 5.042 | 2.2 | 1554.3 | 201207_V-0012.dxf | 2020/12/07 19:56:02 | 0.76494 | 0.73974 | 0.43109 | 0.76155 | 0.73634 | 0.42775 |  |  |  | 1.0045 | 1.0046 | 1.0078 | 1.0087 | 1.0049 | 1.0054 | 0.0037662 | 0.0077788 | 0.0021126 | 201207 | ATM_EQ_SW_2 | 13.7902 | -3.6935 | 17.4837 | 5.0483 | 23.1235 | 45.2988 |  | 14.035 | -3.8695 | 17.9046 | 5.0828 | 22.1927 | 43.4561
201207 | 23 | ATM_EQ_SW_3 | 0 | 5.383 | 45.667 | 2.928 | 4.602 | 4.783 | 1.8 | 1551.9 | 201207_V-0022.dxf | 2020/12/08 01:14:46 | 0.7656 | 0.74048 | 0.43216 | 0.76163 | 0.73627 | 0.42803 |  |  |  | 1.0052 | 1.0057 | 1.0096 | 1.0105 | 1.0056 | 1.0065 | 0.003773 | 0.0077847 | 0.0021149 | 201207 | ATM_EQ_SW_3 | 16.0354 | -4.4021 | 20.4375 | 5.8167 | 23.7036 | 46.4476 |  | 16.3099 | -4.5343 | 20.8442 | 5.8878 | 22.7524 | 44.5638
201207 | 24 | S2_ref_2 | 0 | -4.002 | 33.719 | -3.002 | 8.283 | 8.603 | 2.0 | 1551 | 201207_V-0023.dxf | 2020/12/08 01:46:13 | 0.75863 | 0.73199 | 0.42839 | 0.76168 | 0.73628 | 0.42812 |  |  |  | 0.996 | 0.99417 | 1.0006 | 1.0013 | 0.99633 | 0.99474 | 0.0037386 | 0.0077126 | 0.0020903 | 201207 | S2_ref_2 | 6.3749 | -13.6999 | 20.0748 | -3.6625 | 17.5604 | 34.312 |  | 6.522 | -13.2574 | 19.7794 | -3.3677 | 16.8243 | 32.8627
201207 | 25 | DI | 0 | -7.13 | 44.149 | 2.176 | 13.6 | 14.154 | 2.0 | 1551.2 | 201207_V-0024.dxf | 2020/12/08 02:17:40 | 0.7566 | 0.73928 | 0.43062 | 0.7617 | 0.73627 | 0.42825 |  |  |  | 0.99332 | 1.0041 | 1.0055 | 1.0059 | 0.99349 | 1.0044 | 0.0037558 | 0.0076907 | 0.0021105 | 201207 | DI | 12.6028 | -26.4359 | 39.0387 | -6.9165 | 22.7068 | 44.4737 |  | 12.832 | -25.2062 | 38.0382 | -6.1871 | 21.7905 | 42.6606
[22 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[22 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[22 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[22 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[22 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[22 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[22 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[22 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[22 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[22 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[22 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[22 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[22 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[22 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[22 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[22 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[22 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[22 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[22 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[22 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[22 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[22 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!

## scrambling_template
| Copy-paste size-corrected data from crxn spreadsheet here: |  |  |  |  | Re-format and put these values into scrambling scripts | [5 empty] | Put MATLAB/python outputs here:
[6 empty] | Reference Sample 1: ATM-EQ SW |  |  | Reference Sample 2: S2
Run_Date_1 | Run_ID_1 | size_corrected_31R | size_corrected_45R | size_corrected_46R | Sample Pair | 31R | 45R | 46R | 31R | 45R | 46R | Sample Pair | gamma | kappa | gamma | kappa | gamma | kappa
201204 | ATM_EQ_SW | 0.003769 | 0.007785 | 0.0021171 | 201205 | 0.0037689 | 0.0077906 | 0.0021175 | 0.0037382 | 0.0077154 | 0.0020907 | 201205 | 0.17176 | 0.078265 | 0.17109 | 0.078916 | 0.17123 | 0.078745
201205 | S2_ref_1 | 0.0037382 | 0.0077154 | 0.0020907 | 201205 | 0.0037689 | 0.0077906 | 0.0021175 | 0.0037377 | 0.007715 | 0.0020911 | 201205 | 0.17177 | 0.078255 | 0.00041809 | 0.00040672 | 0.00046481 | 0.00046364
201205 | B6_ref_1 | 0.0037228 | 0.007744 | 0.0021104 | 201205 | 0.0037708 | 0.0077805 | 0.0021133 | 0.0037382 | 0.0077154 | 0.0020907 | 201205 | 0.1709 | 0.079099
201205 | ATM_EQ_SW_1 | 0.0037689 | 0.0077906 | 0.0021175 | 201205 | 0.0037708 | 0.0077805 | 0.0021133 | 0.0037377 | 0.007715 | 0.0020911 | 201205 | 0.17091 | 0.07909
201205 | S2_ref_2 | 0.0037377 | 0.007715 | 0.0020911 | 201207 | 0.0037742 | 0.0077853 | 0.0021128 | 0.0037382 | 0.0077132 | 0.0020882 | 201207 | 0.17086 | 0.079141
201205 | B6_ref_2 | 0.0037199 | 0.0077346 | 0.0021063 | 201207 | 0.0037742 | 0.0077853 | 0.0021128 | 0.0037386 | 0.0077126 | 0.0020903 | 201207 | 0.1708 | 0.079203
201205 | ATM_EQ_SW_2 | 0.0037708 | 0.0077805 | 0.0021133 | 201207 | 0.003773 | 0.0077847 | 0.0021149 | 0.0037382 | 0.0077132 | 0.0020882 | 201207 | 0.17089 | 0.079107
201205 | DI | 0.0037559 | 0.0076708 | 0.0021117 | 201207 | 0.003773 | 0.0077847 | 0.0021149 | 0.0037386 | 0.0077126 | 0.0020903 | 201207 | 0.17083 | 0.079169
201207 | ATM_EQ_SW_1 | 0.0037742 | 0.0077853 | 0.0021128
201207 | S2_ref_1 | 0.0037382 | 0.0077132 | 0.0020882 |  | Reference Sample 1: ATM-EQ SW |  |  | Reference Sample 2: B6 | [5 empty] | gamma | kappa
201207 | B6_ref_1 | 0.0037243 | 0.0077424 | 0.0021098 | 201205 | 0.0037689 | 0.0077906 | 0.0021175 | 0.0037228 | 0.007744 | 0.0021104 | 201205 | 0.17214 | 0.078008 | 0.17143 | 0.078801
201207 | ATM_EQ_SW_2 | 0.0037662 | 0.0077788 | 0.0021126 | 201205 | 0.0037689 | 0.0077906 | 0.0021175 | 0.0037199 | 0.0077346 | 0.0021063 | 201205 | 0.17249 | 0.079248 | 0.00070219 | 0.00043992
201207 | ATM_EQ_SW_3 | 0.003773 | 0.0077847 | 0.0021149 | 201205 | 0.0037708 | 0.0077805 | 0.0021133 | 0.0037228 | 0.007744 | 0.0021104 | 201205 | 0.17112 | 0.07872
201207 | S2_ref_2 | 0.0037386 | 0.0077126 | 0.0020903 | 201205 | 0.0037708 | 0.0077805 | 0.0021133 | 0.0037199 | 0.0077346 | 0.0021063 | 201205 | 0.17073 | 0.079162
201207 | DI | 0.0037558 | 0.0076907 | 0.0021105 | 201207 | 0.0037742 | 0.0077853 | 0.0021128 | 0.0037243 | 0.0077424 | 0.0021098 | 201207 | 0.17105 | 0.078848
[5 empty] | 201207 | 0.003773 | 0.0077847 | 0.0021149 | 0.0037243 | 0.0077424 | 0.0021098 | 201207 | 0.17108 | 0.078821
[6 empty] | Reference Sample 1: S2 |  |  | Reference Sample 2: B6 | [5 empty] | gamma | kappa
[5 empty] | 201205 | 0.0037382 | 0.0077154 | 0.0020907 | 0.0037228 | 0.007744 | 0.0021104 | 201205 | 0.17118 | 0.07782 | 0.1712 | 0.07846
[5 empty] | 201205 | 0.0037382 | 0.0077154 | 0.0020907 | 0.0037199 | 0.0077346 | 0.0021063 | 201205 | 0.1712 | 0.07883 | 2.5068e-05 | 0.00049373
[5 empty] | 201205 | 0.0037377 | 0.007715 | 0.0020911 | 0.0037228 | 0.007744 | 0.0021104 | 201205 | 0.17121 | 0.077831
[5 empty] | 201205 | 0.0037377 | 0.007715 | 0.0020911 | 0.0037199 | 0.0077346 | 0.0021063 | 201205 | 0.17121 | 0.078822
[5 empty] | 201207 | 0.0037382 | 0.0077132 | 0.0020882 | 0.0037243 | 0.0077424 | 0.0021098 | 201207 | 0.17124 | 0.078703
[5 empty] | 201207 | 0.0037386 | 0.0077126 | 0.0020903 | 0.0037243 | 0.0077424 | 0.0021098 | 201207 | 0.17118 | 0.078755

## scale_decompression
Scale Decompression
| d15Na | d15Nb | SP | d15Nbulk | d17O | d18O
Calibrated Values
AIR (Mohn et al., 2014) | 15.7 | -3.3 | 19 | 6.2 | 22.619 | 44.3
B6 (Air Liquide) | -0.40397 | -0.14815 | -0.25582 | -0.27606 | 21.4305 | 41.9493
S2 (Tokyo Tech) | 5.55 | -12.87 | 18.42 | -3.66 | 16.757 | 32.73
Mean measured values
ATM | 15.0862 | -3.5911 | 18.6773 | 5.7475 | 23.6532 | 46.3481
B6 | -0.89603 | 0.62313 | -1.5192 | -0.13645 | 22.219 | 43.5087
S2 | 6.198 | -13.1323 | 19.3303 | -3.4672 | 17.5175 | 34.2276
Scale decompression
Slope | 1.0132 | 0.93819 |  |  | 0.965 | 0.96419
Intercept | 0.063024 | -0.40432 |  |  | -0.12143 | -0.22071
ATM | 15.3481 | -3.7735 | 19.1216 | 5.7873 | 22.7038 | 44.4678
B6 | -0.84482 | 0.18029 | -1.0251 | -0.33227 | 21.3198 | 41.7301
S2 | 6.3427 | -12.7249 | 19.0676 | -3.1911 | 16.7829 | 32.7813